## Revisions
Integrated Errata - External to the Core (GATTBased)
Test Impact
This Document is an informative supplement to the TCRL Package and Test Documents to help track integrated errata into specifications in maintenance and enhancements.
Tab Color Legend
Sheet updated due to newly integrated errata or a change in test impact or to the states of the associated test impact TSEs.
No technical changes to this sheet compared to the previous publication. (There may be template-based editorial changes.)
Updates made only to the D&W states of the specifications, but there are no changes to integrated errata and test impact compared to the previous publication.
Red text is used throughout to designate all updates made since the previous publication.
Release date: | 2024-07-01
Revision History
Version | Date | Changes
p0 | 2021-07-13 | Updated as of the TCRL 2021-1 release. Prepared for TCRL 2021-1 publication.
p1 | 2022-01-25 | Updated as of the TCRL 2021-2 release including the medical devices working group .Z updates for BLP, BLS, BMS, CGMP, CGMS, GLP, GLS, IDP, IDS, PLXP, PLXS, RCP, and RCS. Prepared for TCRL 2021-2 publication.
p2 | 2022-06-28 | Updated as of the TCRL 2022-1 release. Includes released TSE info for RCS associated with the previous .Z adoption. Prepared for TCRL 2022-1 publication.
p3 | 2023-02-07 | Updated as of the TCRL 2022-2 release. Includes updates from BAS 1.1 adoption. Updated errata links to JIRA links. Updated specification states throughout. Prepared for TCRL 2022-2 publication.
p4 | 2023-06-29 | Updated as of the TCRL 2023-1 release. Includes updates from DIS 1.2. Prepared for TCRL 2023-1 publication.
p5 | 2024-07-01 | Updated as of the TCRL 2024-1 release. Includes updates from the Sports and Fitness Working Group batch 1 of .Z updates for BCS 1.0.1, CPP 1.1.1, CPS 1.1.1, CSCP 1.0.1, CSCS 1.0.1, and UDS 1.1.1. Miscellaneous editorial changes to the informative explanatory text and column headings. Prepared for TCRL 2024-1 publication.

## BAS Spec Errata
Battery Service (BAS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
BAS 1.1 | 2022-12-20 | Active | 16258 |  |  |  |  | Required Features: None Optional features: 11 new characteristics with associated behavior Battery Level Status Estimated Service Date Battery Critical Status Battery Energy Status Battery Time Status Battery Health Status Battery Health Information Battery Information Manufacturer Name String Model Number String Serial Number String
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
16258 | BAS 1.0 | GATT Handles in SDP record | 1/Technical Low | No

## BCS Spec Errata
Body Composition Service (BCS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
BCS 1.0.1 | 2024-06-11 | Active | 16256, 16257, 18743, 18955, 22309, 23312 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
16256 | BCS 1.0 | Incorrect use of Service Changed | 2/Technical Medium | Yes | 4 | 16705 | Released | Adds ICS and new test cases. Released in TCRL 2024-1.
16257 | BCS 1.0 | GATT Handles in SDP record | 1/Technical Low | Yes | 1 | 18101 | Released | TSE 18101 has been filed against GATT because the test impact is to GGIT and does not directly affect the service TS.
18743 | BCS 1.0 | Aligning with the updated PCLA policy | Editorial | No
18955 | BCS 1.0 | Update Contributors table to Acknowledgments | Editorial | No
22309 | BCS 1.0 | Update reference to Bluetooth Core Specification version | Editorial | No
23312 | BCS 1.0 | Conformance section - update needed per ES-23224 | Editorial | No

## BLP Spec Errata
Blood Pressure Profile (BLP)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
BLP 1.0.1 | 2019-01-15 | Active | Erratum 9145 |  |  |  |  | N/A
BLP 1.1 | 2020-12-15 | Deprecated | None |  |  |  |  | Required Features: None Optional features: Enhanced Blood Pressure Sensor, Enhanced Blood Pressure Collector, enhancements to include Device Time Profile, enhancements to include User Data Service
BLP 1.1.1 | 2022-01-18 | Active | 16360, 17631, 17658 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
9145 | BLP 1.0 | security mode 1 level 4 is not allowed | Not categorized | No
16360 | BLP 1.1 | incorrect use of Service Changed in profile | 1/Technical Low | Yes | 4 | 16863 | Released | Adds ICS and new test cases. Released in TCRL 2021-2.
17631 | BLP 1.1 | Appropriate language updates | Editorial | No
17658 | BLP 1.1 | Remove "normative" or "informative" words | Editorial | No

## BLS Spec Errata
Blood Pressure Service (BLS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
BLS 1.1 | 2020-12-15 | Deprecated | None |  |  |  |  | Required Features: None Optional features: Enhanced Blood Pressure Service, E2E-CRC, User Data Service, User Facing Time, Enhanced Blood Pressure Measurement Characteristic, Enhanced Intermediate Cuff Pressure Characteristic, RACP Characteristic, Blood Pressure Record Characteristic, Epoch Start 2000 Flag
BLS 1.1.1 | 2022-01-18 | Active | 16461 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
16461 | BLS 1.1 | incorrect use of Service Changed | 2/ Technical Medium | Yes | 4 | 16862 | Released | Adds ICS and new test cases. Released in TCRL 2021-2.

## BMS Spec Errata
Bond Management Service (BMS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
BMS 1.0.1 | 2022-01-18 | Active | 15767, 16242, 17148 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
15767 | BMS 1.0 | incorrect use of Service Changed | 2/Technical Medium | Yes | 4 | 16764 | Released | Adds ICS and new test cases. Released in TCRL 2021-2.
16242 | BMS 1.0 | GATT Handles in SDP record | 1/Technical Low | Yes | 1 | 18101 | Released | TSE 18101 has been filed against GATT because the test impact is to GGIT and does not directly affect the service TS.
17148 | BMS 1.0 | Fix hyperlink style | Editorial | No

## CGMP Spec Errata
Continuous Glucose Monitoring Profile (CGMP)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
CGMP 1.0.1 | 2015-12-15 | Deprecated | ESR09: 6173 |  |  |  |  | N/A
CGMP 1.0.2 | 2022-01-18 | Active | 15780, 16275, 17659 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
6173 | CGMP 1.0 | Specification does not mention 'Time Offset' as a field of the CGM Status | Not categorized | No
15780 | CGMP 1.0.1 | Appropriate Language updates | Editorial | Yes | 1 | 18108 | Released
16275 | CGMP 1.0.1 | incorrect use of Service Changed in profile | 1/Technical Low | Yes | 4 | 16858 | Released | Adds ICS and new test cases. Released in TCRL 2021-2.
17659 | CGMP 1.0.1 | Remove "normative" or "informative" words | Editorial | No

## CGMS Spec Errata
Continuous Glucose Monitoring Service (CGMS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
CGMS 1.0.1 | 2015-12-15 | Deprecated | ESR09: 6155, 6423 |  |  |  |  | N/A
CGMS 1.0.2 | 2022-01-18 | Active | 16239, 16243, 17414 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
6155 | CGMS 1.0 | E2E-CRC and Fields that need to be included in the CRC calculation. | Not categorized | No
6423 | CGMS 1.0 | Added section for Time Offset field (see also E6173) | Not categorized | No
16239 | CGMS 1.0.1 | incorrect use of Service Changed | 2/Technical Medium | Yes | 4 | 16857 | Released | Adds ICS and new test cases. Released in TCRL 2021-2.
16243 | CGMS 1.0.1 | GATT Handles in SDP record | 1/Technical Low | Yes |  |  |  | TSE 18101 has been filed against GATT because the test impact is to GGIT and does not directly affect the service TS.
17414 | CGMS 1.0.1 | define values for Calibration Data Record | 1/Technical Low | Yes | 4 | 18087 | Released | Adds ICS and a new test case. Released in TCRL 2021-2.

## CPP Spec Errata
Cycling Power Profile (CPP)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
CPP 1.1 | 2016-05-03 | Active | None |  |  |  |  | Mandatory Features: None Optional Features: Enhanced Offset Compensation
CPP 1.1.1 | 2024-06-11 | Active | 15782, 16588, 18744, 22313, 23359 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
15782 | CPP 1.1 | Appropriate Language updates | Editorial | Yes | 1 | 18588 | Released | Editorial updates
16588 | CPP 1.1 | incorrect use of Service Changed | 2/Technical Medium | Yes | 4 | 17222 | Released | Adds ICS and new test cases. Released in TCRL 2024-1.
18744 | CPP 1.1 | Aligning with the updated PCLA policy | Editorial | No
22313 | CPP 1.1 | Update references to Bluetooth Core Specification version | Editorial | No
23359 | CPP 1.1 | Conformance update needed per ES-23224 | Editorial | No

## CPS Spec Errata
Cycling Power Service (CPS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
CPS 1.1 | 2016-05-03 | Active | ESR09: 6426 |  |  |  |  | Mandatory Features: None Optional Features: Enhanced Offset Compensation, use in a distributed/not distributed system
CPS 1.1.1 | 2024-06-11 | Active | 16586, 16587, 18745, 18971, 22592, 23313 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
6426 | CPS 1.0 | Editorial issue (copy paste error) | Editorial | No
16586 | CPS 1.1 | incorrect use of Service Changed | 2/Technical Medium | Yes | 4 | 17237 | Released | Adds ICS and new test cases. Released in TCRL 2024-1.
16587 | CPS 1.1 | GATT Handles in SDP record | 1/Technical Low | Yes | 1 | 18101 | Released | TSE 18101 has been filed against GATT because the test impact is to GGIT and does not directly affect the service TS.
18745 | CPS 1.1 | Aligning with the updated PCLA policy | Editorial | No
18971 | CPS 1.1 | Update Contributors table to Acknowledgments | Editorial | No
22592 | CPS 1.1 | Update references to Bluetooth Core Specification version (CSA) | Editorial | No
23313 | CPS 1.1 | Conformance section - update needed per ES-23224 | Editorial | No

## CSCP Spec Errata
Cycling Speed and Cadence Profile (CSCP)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
CSCP 1.0.1 | 2024-06-11 | Active | 15783, 17169, 18746, 18979, 22314, 23323 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
15783 | CSCP 1.0 | Appropriate Language updates | Editorial | Yes | 1 | 18589 | Released | Editorial updates
17169 | CSCP 1.0 | incorrect use of Service Changed | 2/Technical Medium | Yes | 4 | 17238 | Released | Adds ICS and new test cases. Released in TCRL 2024-1.
18746 | CSCP 1.0 | Aligning with the updated PCLA policy | Editorial | No
18979 | CSCP 1.0 | Update Contributors table to Acknowledgments | Editorial | No
22314 | CSCP 1.0 | Update references to Bluetooth Core Specification version | Editorial | No
23323 | CSCP 1.0 | Conformance section - update needed per ES-23224 | Editorial | No

## CSCS Spec Errata
Cycling Speed and Cadence Service (CSCS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
CSCS 1.0.1 | 2024-06-11 | Active | 16574, 16649, 18747, 22315, 23314 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
16574 | CSCS 1.0 | GATT Handles in SDP record | 1/Technical Low | Yes | 1 | 18101 | Released | TSE 18101 has been filed against GATT because the test impact is to GGIT and does not directly affect the service TS.
16649 | CSCS 1.0 | incorrect use of Service Changed | 2/Technical Medium | Yes | 4 | 17239 | Released | Adds ICS and new test cases. Released in TCRL 2024-1.
18747 | CSCS 1.0 | Aligning with the updated PCLA policy | Editorial | No
22315 | CSCS 1.0 | Update reference to Bluetooth Core Specification version | Editorial | No
23314 | CSCS 1.0 | Conformance section - update needed per ES-23224 | Editorial | No

## CTS Spec Errata
Current Time Service (CTS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
CTS 1.1 | 2014-10-07 | Active | ESR08: 5450 |  |  |  |  | Mandatory Features: None Optional Features: Service supported over BR/EDR transport
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
5450 | CTS 1.0 | Duplicate and misplaced requirement | Not categorized | No

## DIS Spec Errata
Device Information Service (DIS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
DIS 1.1 | 2011-11-29 | Active | None |  |  |  |  | Mandatory Features: Makes all Characteristics optional, removes mandating as a primary service Optional Features: None
DIS 1.2 | 2023-06-21 | Active | E6237, E6238, E16573, E18774, E18793, E18795, E19229, E19230, E22608, E23029, E23096, E23103 |  |  |  |  | Mandatory Features: None Optional Features: Unique Device Identifier for Medical Devices Multiple Instances
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
6237 | DIS 1.0 | The PnP_ID characteristic incorrectly claims to be unique for each device | Not categorized | No
6238 | DIS 1.0 | The PnP_ID characteristic doesn't describe how its fields are combined into its characteristic value | Not categorized | No
16573 | DIS 1.1 | GATT Handles in SDP record | 1/Technical Low | Yes | 2 | 17271 | Released | GGIT conversion of DIS tests. Released in TCRL 2022-2-addition.
18774 | DIS 1.1 | Aligning with the updated PCLA policy | Editorial | No
18793 | DIS 1.1 | Update Contributors table to Acknowledgments | Editorial | No
18795 | DIS 1.1 | Update the Conformance section | Editorial | No
19229 | DIS 1.1 | Update the Transport Dependencies section | 1/Technical Low | No
19230 | DIS 1.1 | GATT Sub-Procedure Requirements not clear | 1/Technical Low | No
22608 | DIS 1.1 | Template updates and editorial fixes | Editorial | No
23029 | DIS 1.1 | Unused abbreviations can be removed | Editorial | No
23096 | DIS 1.1 | Update cross-reference | Editorial | No
23103 | DIS 1.1 | Add an acronym to the "Acronyms and abbreviations" table | Editorial | No

## GLP Spec Errata
Glucose Profile (GLP)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
GLP 1.0.1 | 2022-01-18 | Active | 16276, 16990, 17660 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
16276 | GLP 1.0 | incorrect use of Service Changed in profile | 1/Technical Low | Yes | 4 | 16856 | Released | Adds ICS and new test cases. Released in TCRL 2021-2.
16990 | GLP 1.0 | Appropriate Language updates | Editorial | No
17660 | GLP 1.0 | Remove "normative" or "informative" words | Editorial | No

## GLS Spec Errata
Glucose Service (GLS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
GLS 1.0.1 | 2022-01-18 | Active | 16245, 17545 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
16245 | GLS 1.0 | incorrect use of Service Changed | 2/Technical Medium | Yes | 4 | 16855 | Released | Adds ICS and new test cases. Released in TCRL 2021-2.
16990 | GLP 1.0 | Appropriate Language updates | Editorial | No

## IDP Spec Errata
Insulin Delivery Profile (IDP)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
IDP 1.0.1 | 2022-01-18 | Active | 15797, 16486, 17661 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
15797 | Insulin Delivery Profile 1.0 | Appropriate Language updates | Editorial | No
16486 | Insulin Delivery Profile 1.0 | incorrect use of Service Changed - impact on profile | 1/Technical Low | Yes | 4 | 16936 | Released | Adds ICS and new test cases. Released in TCRL 2021-2.
17661 | Insulin Delivery Profile 1.0 | Remove "normative" or "informative" words | Editorial | No

## IDS Spec Errata
Insulin Delivery Service (IDS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
IDS 1.0.1 | 2022-01-18 | Active | 16246, 17501, 17662 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
16246 | Insulin Delivery Service 1.0 | incorrect use of Service Changed | 2/Technical Medium | Yes | 4 | 16861 | Released | Adds ICS and new test cases. Released in TCRL 2021-2.
17501 | Insulin Delivery Service 1.0 | Remove extra paragraph breaks and fix cross-reference styles | Editorial | No
17662 | Insulin Delivery Service 1.0 | Remove "normative" or "informative" words | Editorial | No

## LLS Spec Errata
Link Loss Service (LLS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
LLS 1.0.1 | 2015-06-30 | Active | ESR08: 4826 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
4826 | LLS 1.0 | Device alert on explicit link termination | Not categorized | No

## PLXP Spec Errata
Pulse Oximeter Profile (PLXP)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
PLXP 1.0.1 | 2022-01-18 | Active | 15807, 16277, 17663, 17996 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
15807 | PLXP 1.0 | Appropriate Language updates | Editorial | Yes | 1 | 18112 | Released
16277 | PLXP 1.0 | incorrect use of Service Changed in profile | 1/Technical Low | Yes | 4 | 16766 | Released | Adds ICS and new test cases. Released in TCRL 2021-2.
17663 | PLXP 1.0 | Remove "normative" or "informative" words | Editorial | No
17996 | PLXP 1.0 | Replace TBD in References item | Editorial | No

## PLXS Spec Errata
Pulse Oximeter Service (PLXS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
PLXS 1.0.1 | 2022-01-18 | Active | 16248, 16249, 17517, 17997 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
16248 | PLXS 1.0 | incorrect use of Service Changed | 2/Technical Medium | Yes | 4 | 16765 | Released | Adds ICS and new test cases. Released in TCRL 2021-2.
16249 | PLXS 1.0 | GATT Handles in SDP record | 1/Technical Low | Yes |  |  |  | TSE 18101 has been filed against GATT because the test impact is to GGIT and does not directly affect the service TS.
17517 | PLXS 1.0 | References section starts with 2 | Editorial | No
17997 | PLXS 1.0 | Replace TBD in References item | Editorial | No

## PXP Spec Errata
Proximity Profile (PXP)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
PXP 1.0.1 | 2015-06-30 | Active | ESR08: 4643 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
4643 | PXP 1.0 | Create a note that the use case can be spoofed if there is no data | Not categorized | No

## RCP Spec Errata
Reconnection Configuration Profile (RCP)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
RCP 1.0.1 | 2022-01-18 | Active | 15808 and 16487 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
15808 | RCP 1.0 | Appropriate Language updates | Editorial | Yes | 1 | 18077 | Released
16487 | RCP 1.0 | incorrect use of Service Changed - impact on profile | 1/Technical Low | Yes | 4 | 16860 | Released | Adds ICS and new test cases. Released in TCRL 2021-2.

## RCS Spec Errata
Reconnection Configuration Service (RCS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
RCS 1.0.1 | 2022-01-18 | Active | 14847, 15809, 15852, 16252 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
14847 | RCS 1.0 | Discrepency between the characteristic table and the section name | Editorial | No
15809 | RCS 1.0 | Appropriate Language updates | Editorial | Yes | 1 | 18080 | Released
15852 | RCS 1.0 | Feature | Editorial | Yes | 2 | 18168 | Released | Removed ICS item 4/20 and associated C.2. Released with TCRL 2022-1.
16252 | RCS 1.0 | incorrect use of Service Changed | 2/Technical Medium | Yes | 4 | 16859 | Released | Adds ICS and new test cases. Released in TCRL 2021-2.

## TDS Spec Errata
Transport Discovery Service (TDS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
TDS 1.1 | 2020-08-11 | Active | ESR11: 7552 |  |  |  |  | Mandatory Features: None Optional Features: BR-EDR Handover Data, Bluetooth SIG Data, Complete BR-EDR Transport Block Data descriptor
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
7552 | TDS 1.0 | Incorrect values given for Parameter and Response Parameter fields | Not categorized | No

## UDS Spec Errata
User Data Service (UDS)
This sheet summarizes Specification Errata and the corresponding known Test Impact at the time of adoption of an X.Y specification enhancement or a specification maintenance .Z. This sheet is provided for informative purposes only. TSEs that are open at the time of specification adoption can eventually become part of updated qualification requirements in future maintenance releases of a TCRL Package or conclude the resolution process defined in the Errata Process Document (EPD) as rejected TSEs. At any time in the future, additional TSEs may be necessary to further handle implications of the implemented errata.
In order to pick up errata in a previously qualified design, it is necessary to review and implement all applicable errata that have been released from the version qualified to. For example, if AVRCP 1.6 was qualified to and AVRCP 1.6.3 is the current active specification, you have to look at the Integrated Errata in AVRCP 1.6.1, AVRCP 1.6.2, and AVRCP 1.6.3.
Specification Version | Adoption Date | Specification Status | Integrated Errata |  |  |  |  | Feature Additions (for Major Version X.Y Releases)
UDS 1.1 | 2019-10-15 | Active | None |  |  |  |  | Mandatory Features: None Optional Features: Registered User characteristic, List All Users Procedure, Delete Users Procedure, Expose User Names Feature
UDS 1.1.1 | 2024-06-11 | Active | 13106, 16253, 18758, 22599, 23320 |  |  |  |  | N/A
Errata Summary
* TSE severity categorization began with TCRL 2015-1 around February 2015. Prior to that date, TSEs external to the Core will not have a severity.
Erratum ID | Part (From Errata System) | Subject (From Errata System) | Erratum Severity | Test Impact | TSE Severity* | TSE | TSE Status | Comment
13106 | UDS 1.0 | Incorrect reference to Procedure Completed section | Editorial | No
16253 | UDS 1.0 | GATT Handles in SDP record | 1/Technical Low | Yes | 1 | 18101 | Released | TSE 18101 has been filed against GATT because the test impact is to GGIT and does not directly affect the service TS.
18758 | UDS 1.0 | Aligning with the updated PCLA policy | Editorial | No
22599 | UDS 1.0 | Update reference to Bluetooth Core Specification version | Editorial | No
23320 | UDS 1.0 | Conformance section - update needed per ES-23224 | Editorial | No